## Slide 1
A Frequency Generator
By
Ken Pollock
WB3JOB

## Slide 2
What was desired;
A Stable RF Generator covering up to 40MHz
Frequency step of 1 Hertz
Has to be portable
Enough output to enable troubleshooting and for experimentation
Low Cost
Easy to use

## Slide 3
Why build and not buy?
Cost- unit cost less than $50 to build
Easy to change and maintain
Satisfaction of doing it myself
I had most of the parts in junk box
I designed it for what I wanted not what was available

## Slide 4
Resulting Design
Uses Arduino Nano for control
Uses AD9851 DDS frequency generator
A 16 X 2 LCD display for readout
A switchable RF amplifier for greater output
Output level is fully adjustable
Lithium-ion Batteries are used for power
Built-in charger circuit controls charging batteries

## Slide 5
Cautions!!!
As design progressed, kept adding stuff
DDS produces a stepped waveform
Output control must be a Cermet!
Calibration requires a radio tuned to WWV
Calibration requires a software change

## Slide 6
How the DDS Works

## Slide 7
What the Output Looks Like

## Slide 8
The resulting waveform

## Slide 9
Generator Schematic

## Slide 10
Battery Charger Circuit

## Slide 11
RF Amplifier

## Slide 12
Results
Frequency range of 1 Hz to 39,999,999 Hz
Amplifier gives >13dB of gain 1 to 40 MHz
Battery life allows more than 6 hours
Cost was less than $50
Very easy to use
Weighs less than 2 pounds

## Slide 13
Thanks!!!
Any Questions?
73’s es gud DX
de
WB3JOB